## Worksheet
Stage in workflow | Positive control | Negative control | Referred to in this document | Notes
Site controls | Sample from site with known presence of target species | Sample from site with known absence of target species |  | Not always needed, but important when using new or partially-validated assays. Site negative is more relevant for single-species tests than for metabarcoding
Filter controls (aquatic eDNA only) |  | Distilled or bottled water processed under the same filtering conditions as the field samples to check that contamination is not being introduced in the field | 2.1.12 | Highly recommended for eDNA samples, especially when using open filters
Laboratory controls: DNA extraction | Add IPC (internal positive control) at known concentration to the lysis buffer (or other extraction solution) to control for successful DNA extraction. Amplify the IPC with qPCR or ddPCR to check the expected concentration is obtained (after controlling for inhibition). | DNA extraction protocol applied in the absence of the biological sample. Must be carried out alongside sample extractions using the same equipment and materials. Include IPC for comparison with samples. For each set of samples extracted together, add at least one negative extraction control | 3.3 | Negative controls mandatory Positive controls highly recommended
Laboratory controls: Inhibition testing | Use IPC added to extracted DNA and amplify with qPCR / ddPCR to check efficiency. If IPC amplification fails or is delayed, purification steps should be undertaken and the test repeated. Negative results from inhibited samples should be reported as inconclusive |  | 3.4.2 3.4.3 | Highly recommended for all sample types; mandatory for environmental samples (water and sediment)
Laboratory controls: amplification with cPCR ddPCR, qPCR | Use DNA of the target species as a positive control for qPCR or ddPCR analysis. This should be run on every plate of samples. Standard curves are needed for DNA quantification in qPCR but not in ddPCR | Multiple template negative controls should be included in each plate of samples, using nuclease free water as a template in the PCR reaction. All other equipment and materials should be identical to those used for the samples | 3.4.2 3.4.3 | Mandatory
Laboratory controls: Amplification for Metabarcoding | Amplify DNA from a mock community with known species composition. The mock community species should not be expected to occur in the samples on the same sequencing run. This should be included at least once in every PCR plate and included in all downstream processes | Multiple template negative controls should be included in each plate of samples, using nuclease free water as template in the PCR reaction. All other equipment and materials should be identical to those used for the samples | 3.5.3 | Recommended
Laboratory controls: Sequencing | Sequence the mock community used as the positive PCR control | Sequence all negative controls included above | 3.5.3 | Negative controls Mandatory Positive controls highly recommended