## Worksheet
| Cost saving option | Sample / analysis type | Considerations | Impact on budget
Field | Filter a larger volume of water per filter | Aquatic eDNA | May not be a viable option in systems with high suspended solids. Multiple samples still needed to account for uneven distribution of eDNA, especially in lentic habitats | Small in most cases, although may have a larger impact in certain environments (e.g. marine). Large volume samplers are likely to be more expensive so cost saving is only likely to be significant at large scales
Field | Pool subsamples so that each sample is representative of a larger area | All | Lose spatial resolution & decrease probability of detecting rare species. Reduces options to analyse frequency / occupancy or conduct power analysis | Medium to high. A common way to maximise the number of different environments that can be sampled for a given budget
Lab | Extract samples individually but then pool aliquots of DNA extracts for initial analysis. Store remaining DNA extracts individually. | All | Gives you the option to go back to analyse the individual samples for additional insights but start at a coarser level | Medium to high. Still incurs the costs of sample collection and DNA extraction for each sample, but initial analysis cost could be substantially reduced
Lab | Reduce number of PCR replicates | All, but especially aquatic eDNA, for which more PCR replicates are recommended | Increases stochasticity and reduces detection probability | Small. This is usually a false economy since the reduced detection probability usually has to be compensated for by collecting and analysing more replicate samples, which is more expensive overall
Lab | Use a higher-throughput sequencing platform such as Illumina Hi Seq or NovaSeq | Metabarcoding | Requires a large number of indexes for sample multiplexing | Small or negative unless very large numbers of samples give economies of scale. Can slow down the analysis as need to wait for enough samples to be accumulated
Lab | Reduce sequencing depth | Metabarcoding | Reduces detection probability of rare species | Usually small. Sequencing typically only represents a small proportion of the overall cost per sample, and this can be a false economy similar to reducing the number of PCR replicates, requiring more biological sample replicates
Lab | Reducing quality control testing | All | Lowers confidence in output and reduces the opportunity to identify specific steps that could have compromised the quality of results | Small to medium. Not recommended to eliminate the QC steps marked as mandatory in Table 4, as this will be a false economy if work needs to be repeated